## Analytical Calibration
Analytical calibration using a weighted linear curve fit, with error estimation
| Calibration data | [6 empty] | Application to unknowns | [7 empty] | 0 | 0 | 0 | 0
Weights | Concentration of standards | Instrument readings | [5 empty] | Readings of the unknowns | Calculated concentration | Calculated error (σ) | % Calculated error | Normalized weights (Copy/Paste to Column B) |  |  |  | 1/X | 1/X^2 | 1/Y | 1/Y^2
[12 empty] | 1/X | 1/X^2 | 1/Y | 1/Y^2
|  |  | Standard deviation of the residuals = |  |  |  | #DIV/0!
[6 empty] | Coefficent of determiniation, r2 = | #DIV/0!
|  |  |  | value | Error (σ) | % Error
|  |  | Slope | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Intercept | #DIV/0! | #DIV/0! | #DIV/0!
Note on B5: Enter weights manually, or Copy and Paste the pre-calculated weights from columns Z - AC.
Note on K5: Enter the instrument readings of the unknown samples.
Note on L5: The spreadsheet calculates the concentration of each unknown sample based on the calibration curve.
Note on M5: The spreadsheet calculates the expected standard deviation of the calculated concentration based on the scatter of points in the calibration curve and the instrument reading.
Note on N5: The expected standard deviation of the calculated concentration, expressed as a percentage.

## Calculations
Residual calculations
[6 empty] | Concentrations of the standards | Predicted readings | Actual reading | Actual-predicted | Residuals (% of max reading)
Weighted sums | [6 empty] | #VALUE! | 0 | #VALUE! |  |  | ΣX | ΣY | Σ(X*Y) | Σ(X*X) | Σ(Y-Ybar)^2 | Σ(Y-Ypred)^2
X | Y | X*Y | X*X | (Y-Ybar)^2 | (Y-Ypred)^2 |  | #VALUE! | 0 | #VALUE! |  | sum (Σ) | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | number of points (n) | 0 |  |  |  | sdb | sdm
0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | average (mean) | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | slope | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | intercept | #DIV/0! |  |  |  | Standard deviation of the residuals =
0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | Coefficent of determiniation, r2 |  | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | Summary of equations:
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | n=number of x,y data points
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | sumx=Σx
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | sumy=Σy
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | sumxy=Σx*y
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | sumx2=Σx*x
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | meanx=sumx/n
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | meany=sumy/n
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | slope=(n*sumxy - sumx*sumy) / (n*sumx2 - sumx*sumx)
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | intercept=meany-(slope*meanx)
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | ssy=Σ(Y-meany)^2
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | ssr=Σ(Y-intercept-slope*X)^2
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | R2 =1-(ssr/ssy)
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | sdb=standard deviation of intercept=SQRT(ssr/(n-2))*SQRT(sumx2/(n*sumx2 – sumx*sumx))
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | sdm=standard deviation of slope=SQRT(ssr/(n-2))*SQRT(n/(n*sumx2 – sumx*sumx))
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | Note: The if( ) functions in some of the cells
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | are not part of the actual numerical calculation.
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | Their purpose is simply to blank out or zero
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE! |  | out cells that are not being used at the monent.
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!
[8 empty] | 0 | #VALUE!